| Project Name (Office Use Only) |  | File Number (Office Use Only) |
| --- | --- | --- |

Office Use:       Accepted		  Rejected

Office				       Reviewer

Initials:________  Date:_______  Initials:_______  Date:_______  Log in Date:_______

OKLAHOMA STATE FIRE MARSHAL

PO Box 36690, Oklahoma City, OK 73136-2690

Phone (405) 522-5006

Fax (405) 522-5028

Existing Building Plans Processing Checklist

The following is a list of what is required for all new plan submittals, any information that is not provided will result in the plans being returned to the party submitting them:

(Applicant Use)								               (Office Use)

Completed Building Application, All Fields Filled In.  				(required for initial submittal and resubmittals)

Code Analysis (Adopted Codes, Type of Construction, Square Footage,	Project Type, Occupant Load, Fire Protection, OUBCC Changes)

Demolition Plan (rated walls, rated barriers, rated partitions, demolished walls

Life Safety Plan (egress, location of rated walls, rated barriers, rated partitions	
     draft stopping, egress, fire extinguishers, occupant load per room, alternatives
     approved, directives applied, load bearing walls)

Building Elevation Plan (Building Height, Floor Elevations, Roof Slope, 	      
      Dead loads within 10’ of the edge of the building)

Building Layout showing (Fire/Smoke Dampers, Emergency Lights-Inside	
      and Outside, Exit Signs)

One CD-R computer disc containing all drawings and specifications

Two sets of signed and sealed paper plans to include: Demolition Plan,		
      Life Safety Plan, Building Layout; Building Elevation Plan, Scope of Work Letter

One set of signed and sealed letters identifying proper design for Mechanical,	             Electrical, and Plumbing as they apply

Payment of Plan Review Fee (Check, PO Issued, Credit Card)

All Plan Reviews, Re-submittals, and Addendums require full payment at the time of submission