| Project Name (Office Use Only) |  | File Number (Office Use Only) |
| --- | --- | --- |

Office Use:       Accepted		  Rejected

Office				       Reviewer

Initials:________  Date:_______  Initials:_______  Date:_______  Log in Date:_______

OKLAHOMA STATE FIRE MARSHAL

PO Box 36690, Oklahoma City, OK  73136-2690

Phone (405) 522-5005

Fax (405) 522-5028

Tornado/Storm Shelter/Hardened Area Plans Processing Checklist

The following is a list of what is required for all new plan submittals, any information that is not provided will result in the plans being returned to the party submitting them:

(Applicant Use)								        (Office Use)

Completed Letter of Building Application, All Fields Filled In.

(required for initial submittal and resubmittals)

Code Analysis (Adopted Codes, Type of Construction, Square Footage

Occupant Load, Allowances, Fire Protection, OUBCC Changes)

Site Plan (Fire Department Access Roads, Fire Hydrants as per IFC

And clouded, Buildings within 30’ of the primary building as they apply)

Life Safety Plan (egress, location of rated walls, rated barriers, rated partitions,

draft stopping, egress, fire extinguishers, occupant load per room,

alternatives approved, directives applied, load bearing walls)

Building Elevation Plan (Building Height, Floor Elevations,

Roof Slope, Dead loads within 10’ of the edge of the building)

Building Layout showing (Fire Dampers, Emergency Lights-Inside and Outside

Exit Signs, Fuel Burning Appliance-Fuel Burning Fireplace-Fuel Burning Forced Air

Furnace locations with ducting)

One CD-R computer disc containing all drawings and specifications

Two sets of signed and sealed paper plans to include: Site Plan; Life Safety

Plan; Building Layout showing Mechanical, Electrical, and Plumbing;

Building Elevation Plan

One set of signed and sealed letters identifying proper design for Foundation,

Structural, Mechanical, Electrical, and Plumbing, FEMA Form (if applicable), Peer Review

Payment of Plan Review Fee (Check, PO Issued, Credit Card)

All Plan Reviews, Re-submittals, and Addendums require full payment at the time of submission

Do not provide full Architectural, Mechanical, Electrical, Plumbing Plans