| Project Name (Office Use Only) |  |  | File Number (Office Use Only) |
| --- | --- | --- | --- |

Office Use:       Accepted		  Rejected

Office				       Reviewer

Initials:________  Date:_______  Initials:_______  Date:_______  Log in Date:_______

OKLAHOMA STATE FIRE MARSHAL

PO Box 36690, Oklahoma City, OK  73136-2690

Phone (405) 522-5005

Fax (405) 522-5028

Marijuana New Construction Building

Plans Processing Checklist

The following is a list of what is required, but not limited to, for all plan submittals.  Any information that is not provided will result in the plans being returned to the party submitting them.

(Applicant Use)								       	(Office Use)

Completed Letter of Building Application, All Fields Filled In.

(required for initial submittal and resubmittals)

Code Analysis (Adopted Codes, Type of Construction, Square Footage

Occupant Load, Allowances, Fire Protection, OUBCC Changes, NFPA 1, etc.)

Site Plan (Fire Department Access Roads, Fire Hydrants, Lot Lines,

Buildings within 30’ of the primary building)

Life Safety Plan (egress, location of rated walls, rated barriers, rated

partitions, draft stopping, egress, fire extinguishers, sq. foot and occupant load

per room, alternatives approved, directives applied, load bearing walls, NFPA 1, etc.)

Building Elevation Plan (Building Height, Floor Elevations, Roof Slope

Floor Elevations over 30’, Dead loads within 10’ of the roof edge of the

building)

Building Layout showing (Walls, Doors, Fire/Smoke Dampers, Emergency

Lights-Inside and Outside, Exit Signs, Fuel Burning Appliance-Fuel Burning

Fireplace-Fuel Burning Forced Air Furnace locations with ducting)

NFPA 1 Requirements – Marijuana Growing, Processing, and/or Extraction Facilities

(Identify on the plans, provide supporting documentation, etc.)

Ventilation for Light Fixtures as per Manufacturer and NFPA 90A

Ozone Generator (Identify Approved Cabinet with Specifications or generator

Room or Location Outside of the building, Secondary Containment, Automatic

Shutdown, Manual Shutdown)

Extraction Equipment located in a Room of Non-combustible Construction

Extraction Equipment located within an Assembly, Educational, Day Care,

Health Care, Ambulatory Health Care, Residential Board and Care,

Residential, or Detention and Correctional Facilities (Identify all that apply)

Identify the location of all Self-Closing or Automatic Closing Devices

Identify the location of all Panic or Fire Exit Hardware

Extraction Systems or Equipment is Listed or Approved (Provide

Documentation And Its Location on the Plans)

Heating Equipment-Vacuum Ovens, Heating Mantels, Heat Guns, or other

Equipment Used to heat to heat Flammable or Combustible Liquids or Oils

Containing Liquefied Petroleum Gasses (Provide its location)

Refrigerators, Freezers, and other Cooling Equipment Used to Store or Cool

Flammable Liquids are Listed for the Storage of Flammable/Combustible

Liquids or Listed for Class I, Division 1 locations (Provide Specifications

And Locations)

Use of Non-Listed Systems and Equipment (Provide Documentation)

Change of Extraction Medium (Provide Documentation)

Liquefied Petroleum Gas (LPG) Extraction-Chemical Fume Hood or Enclosure

(Provide Location of All Hoods and Enclosures on Plans)

Conductive Equipment Bonded and Grounded-Identify Process

Location of Class I, Division 1 Devices on Plans

Components Interlocked with Exhaust System-Identify Locations and Process

Emergency Power Installed (If Applicable)

Extraction Room Detection (Provide Specifications and Threshold)

Automatic Suppression System for Hood or Enclosure-Identify Location and

Type of Suppression on Plans

Flammable or Combustible Liquid Extraction-Location of Chemical Fume

Hood And/or Exhaust System

Carbon Dioxide Extraction-Location, Compressed Gas Cylinder Locations

Carbon Dioxide Detection-Location, Specifications

Installing a Fence Around the Property

Within 1,000 feet of a School

One CD-R computer disc containing all drawings and specifications

Two sets of signed and sealed paper plans

One set of signed and sealed letters identifying proper design for Foundation,

Structural, Mechanical, Electrical, and Plumbing

Method of Payment-Check, PO Issued, Credit Card.

All plan reviews, Re-submittals, and addendums require full payment at the time of

Submission.

Do not provide full Architectural, Mechanical, Electrical, Plumbing Plans