| Project Name (Office Use Only) |  |  | File Number (Office Use Only) |
| --- | --- | --- | --- |

Office Use:       Accepted		  Rejected

Office				       Reviewer

Initials:________  Date:_______  Initials:_______  Date:_______  Log in Date:_______

OKLAHOMA STATE FIRE MARSHAL

PO Box 36690, Oklahoma City, OK  73136-2690

Phone (405) 522-5005

Fax (405) 522-5028

New Building Plans Processing Checklist

The following is a list of what is required, but not limited to, for all plan submittals.  Any information that is not provided will result in the plans being returned to the party submitting them.

(Applicant Use)								       	(Office Use)

Completed Building Application, All Fields Filled In.

(required for initial submittal and resubmittals)

Code Analysis (Adopted Codes, Type of Construction, Square Footage

Occupant Load, Allowances, Fire Protection, OUBCC Changes, etc.)

Site Plan (Fire Department Access Roads, Fire Hydrants, Lot Lines,

Buildings within 30’ of the primary building)

Life Safety Plan (egress, location of rated walls, rated barriers, rated

partitions, draft stopping, egress, fire extinguishers, sq. foot and occupant load

per room, alternatives approved, directives applied, load bearing walls, etc.)

Building Elevation Plan (Building Height, Floor Elevations, Roof Slope

Floor Elevations over 30’, Dead loads within 10’ of the roof edge of the building)

Building Layout showing (Walls, Doors, Fire/Smoke Dampers, Emergency

Lights-Inside and Outside, Exit Signs, Fuel Burning Appliance-Fuel Burning

Fireplace-Fuel Burning Forced Air Furnace locations with ducting)

One CD-R computer disc containing all drawings and specifications

Two sets of signed and sealed paper plans

One set of signed and sealed letters identifying proper design for Foundation,

Structural, Mechanical, Electrical, and Plumbing

Method of Payment-Check, PO Issued, Credit Card.

All plan reviews, Re-submittals, and addendums require full payment at the time of

Submission.

Do not provide full Architectural, Mechanical, Electrical, Plumbing Plans