______________________________________________________________

## EMERGENCY ACTION PLAN

Adopted: _____________________

1st Annual Review Date:  _______________	Completed: ______________

2nd Annual Review Date:  _______________	Completed: ______________

3rd Annual Review Date:  _______________	Completed: ______________

4th Annual Review Date:  _______________	Completed: ______________

Record of Changes

| Number | Review (Identify Page and Section) | Change (Identify Page and Section) | Date | Change/Review by: (Signature) |
| --- | --- | --- | --- | --- |

FOR LONG TERM CARE FACILITIES

TABLE OF CONTENTS

INTRODUCTION________________________________________________________	1

OBJECTIVE ____________________________________________________________	1

I.	Purpose ______________________________________________________________	2

II.	Situation and Assumptions

A. Situation _______________________________________________________	2

B. Assumptions ____________________________________________________	2

III.	Concept of Operation

A. Pre-Emergency __________________________________________________	3

B. Preparedness ____________________________________________________	6

C. Response _______________________________________________________	7

D. Recovery _______________________________________________________	7

IV.	Organization and Responsibilities

A. Duties and Activities ______________________________________________	8

V.	Authorities and References

A. Authorities ______________________________________________________	8

B. References ______________________________________________________	8

TAB A:	Notification Procedures ____________________________________________	10

TAB B:	Emergency Call-Down Roster _______________________________________	11

TAB C:	Emergency Checklist/Evacuation Procedures ___________________________	12

TAB D:	Emergency Checklists/Specific Disasters

Fire Safety __________________________________________________	13

Natural Disasters _____________________________________________	14

Water/Electrical Outage _______________________________________	16

Bomb Threat ________________________________________________	18

Missing Resident _____________________________________________	19

TAB E:	Administrative Services ____________________________________________	20

Dietary/Food Services _________________________________________	22

Housekeeping Services ________________________________________	23

Maintenance Services _________________________________________	24

Nursing/Medical Services ______________________________________	25

Resident Services _____________________________________________	26

Security Services _____________________________________________	27

TAB F:	Inventory Checklist ________________________________________________	28

TAB G:	Emergency Points of Contact Directory ________________________________	29

Supplement to the Emergency Action Plan for Long Term Care Facilities

FOR LONG TERM CARE FACILITIES

INTRODUCTION

During the past several years some of the costliest disasters of this century have occurred resulting in countless deaths and injuries to the citizens of America.  In Oklahoma, we have felt the effects of floods, ice storms, grass fires, tornadoes, industrial accidents, the bombing of the Alfred P. Murrah Federal Building, the attacks on the World Trade Center, and, most recently, Hurricane Katrina.

Additionally, the phenomenon known as the "graying of America" has resulted in an increased need for Long Term Care Facilities and has produced areas of population densities.  This combined with the catastrophic effects of recent disasters has identified the need for an emergency action plan for Long Term Care Facilities to include plans for relocation of residents.  This need is further established in federal and state regulation.

The use of the term "Long Term Care Facilities" in this plan refers to Assisted Living, Residential Care, Continuum of Care, Nursing Homes and Intermediate Care Facilities for the Mentally Retarded.

OBJECTIVE

The Oklahoma Department of Emergency Management in collaboration with the Department of Health has developed a MODEL EMERGENCY ACTION PLAN for Long Term Care Facilities.  This plan is provided as a courtesy.  Recipients are welcome to utilize the plan in full (by simply filling in the blanks) or alter the plan to suit their facility's individual needs.

This plan is designed as a resource tool to assist in the development and implementation of an emergency action plan within your organization or agency.  Specific compliance requirements addressed in this plan have been researched to the best of our ability through State and local agencies.  Once in place, it is recommended that the plans be reviewed and updated on a routine basis to ensure their accuracy.

If you have any questions about the plan please contact the Planning, Training and Exercise Division, Oklahoma Department of Emergency Management (405) 521-2481.

_________________________________________

LONG TERM CARE FACILITY

I.	PURPOSE

To provide guidance to _____________________________________________ on emergency policies and procedures to protect the lives and property of residents, staff and visitors.

II.	SITUATION AND ASSUMPTIONS

A.	Situation

1.	The State of Oklahoma is vulnerable to natural and technological disasters.

2.	Residents of this facility require special emergency consideration in planning for disasters or emergencies and in ensuring safety.

B.	Assumptions

1.	The possibility exists that an emergency may occur at any time.

2.	In the event an emergency exceeds the facility's capability, external services and resources may be required.

3.	Local, state and federal departments and agencies may provide assistance necessary to protect lives and property.

4.	It is the responsibility of the Department of Health and\or the Office of the State Fire Marshal to inspect the facility for compliance with published safety guidelines.

5.	The local Emergency Management Agency is available to assist in writing and reviewing the facility's emergency action plan. Contact the Oklahoma Department of Emergency Management at 405.521.2481 to locate your city or county Emergency Manager.

6.	The Department of Health is responsible for the annual inspection of the facility for compliance with all state and federal statutes and regulations.  This emergency action plan will be reviewed at these inspections.

7.	Based on authority, the State Fire Marshal or the local fire department may be responsible for the annual review and inspection of fire safety plans and procedures.

III.	CONCEPT OF OPERATIONS

Because the state is subject to the adverse effects of natural or technological disasters, the facility administrator should develop and revise, in coordination with the Department of Health, the Office of the State Fire Marshal and the local Emergency Management Director, an emergency action plan capable of providing for the safety and protection of residents, staff and visitors.  Procedures should be developed to insure that residents who are hearing impaired, are speech impaired, or have English as a second language are properly informed and alerted as necessary.  This plan can be effective for either internal or external emergencies.

A.	Pre-Emergency

The primary focus of this phase is on the development, revision, testing and training of the emergency action plan.

1.	Review, exercise and re-evaluate existing plans, policies and procedures.

2.	Coordinate plans with the local emergency management agency and provide input into the county's emergency plans. A Memorandum of Understanding, or Mutual Aid Agreement should be in place.

3.	Review and update resource lists.  (See TAB F)

a.	Ensure the availability of manpower needed to execute emergency procedures.

b.	Work with the local Emergency Management Director, in locating needed resources.

c.	Identify staff needing transportation and arrange for provision of this service.

4.	Determine communication system.  For example, cellular phones and fax machines may offer the best means of telecommunication in the event of a power loss.  However, a supply of quarters and accessibility to a pay phone may serve as a reasonable alternative.

5.	Ensure the availability and functioning of facility emergency warning system.

6.	Test reliability of emergency telephone roster for contacting emergency personnel and activating emergency procedures.

7.	Develop procedure for testing generators and equipment supported by emergency generators.

a.	Ensure a 48 hour supply of emergency fuel and establish an agreement  for delivery with a supplier.

b.	Activate the generators for a minimum of eight hours every thirty days.

c.	Document all testing procedures.

8.	Ensure a 4 day supply of food and water for residents and staff.

a.	Arrange for a private contact to supply back-up resources.

b.	Contact the local Emergency Management Director, for assistance in establishing a private contact, as needed.

9.	Schedule employee orientation training and in-service training programs on the operations of the emergency plan.

10.	Enhance emergency education.

a.	Distribute personal preparedness checklists on fire safety, protection from natural disasters, etc. (see TAB D)

b.	Post display of evacuation routes, alarm and fire extinguisher locations and telephone numbers of emergency contacts.

c.	Provide demonstrations on warning systems and proper use of emergency equipment for the staff, residents and resident families.

11.	Conduct, at a minimum, twelve unannounced fire drills per year.  Check fire regulations in your community for local compliance requirements.

a.	One drill is required per quarter for each shift.

b.	Document each drill, instruction or event to include dates, content and the participants involved.

12.	It is recommended that, at a minimum, annual unannounced drills exercising all aspects of the emergency action plan be conducted.  Document drills with critiques and evaluations.

13.	Develop and maintain Standard Operating Procedures including procedures and tasking assignments, resources, security procedures, personnel call down lists and inventories of emergency supplies.  Include section designating staff, space and food provision for the facility's use as a shelter for the external population.

14.	                                         (location) is designated as the Crisis Command Post (CCP) location to serve as the focal point for coordinating operations and                                                       (location) is designated as an alternate location outside the facility for use if evacuation is necessary.  If possible there should be at least two direct outside lines in the command post and multiple copies of emergency telephone numbers (home, beeper and cellular #'s of staff, community, and state agency #'s and #'s of additional key personnel) should be available.

15.	Designate staff trained in the content of the disaster plan to execute the activities of the Command Post.

16.	Plan for Evacuation and Relocation

Describe the policies, role responsibilities and procedures for the evacuation of residents from the facility. (See the Supplement to the Emergency Action Plan for Long Term Care Facilities)

a.	Identify the individual responsible for implementing facility evacuation procedures.

b.	Identify residents who may require skilled transportation provided by local jurisdiction resources.

c.	Determine the number of ambulatory and non-ambulatory residents.

d.	Identify transportation arrangements made through mutual aid agreements or understandings that will be used to evacuate residents (Copies of the agreements must be attached as annexes).

e.	Describe transportation arrangements for logistical support to include moving records, medications, food, water, and other necessities (Copies of the agreements must be attached as annexes).

f.	Identify facilities and include in the plan a copy of the mutual aid agreement that has been entered into with a facility to receive residents/patients (Copies of the agreements must be attached as annexes).

g.	Identify evacuation routes that will be used and secondary routes should the primary route be impassable.

h.	Specify the amount of time it will take to successfully evacuate all patients/residents to the receiving facility.

i.	Specify the procedures that ensure facility staff will accompany evacuating residents/patients.

j.	Identify procedures that will be used to keep track of residents once they have been evacuated to include a log system.

k.	Determine what and how much should each resident take.

l.	Provide for a minimum of 72-hour stay, with provisions to extend this period of time if the disaster is of catastrophic magnitude.

m.	Establish procedures for responding to family inquiries about residents who have been evacuated.

n.	Establish procedures for ensuring all residents are accounted for and are out of the facility.

o.	Determine at what point to begin the pre-positioning of necessary medical supplies and provisions.

p.	Specify at what point the mutual aid agreements for transportation and the notification of alternative facilities will begin.

#### Mutual Aide Agreements

Mutual-aid agreement content will vary but items to consider addressing include the following elements or provisions:

- definitions of key terms used in the agreement;

- roles and responsibilities of individual parties;

- procedures for requesting and providing assistance;

- procedures, authorities, and rules for payment, reimbursement, and allocation of costs;

- notification procedures;

- protocols for interoperable communications;

- relationships with other agreements among jurisdictions;

- workers compensation;

- treatment of liability and immunity;

- recognition of qualifications and certifications; and

- sharing agreements, as required.

See the Supplement to the Emergency Action Plan for Long Term Care Facilities for more information on this topic.

17.	Identify community resources such as volunteers, churches, clubs and organizations, emergency medical services, law enforcement, fire departments, businesses, hospitals and local government departments/agencies.

18.	Establish a plan for donations management.  Delineate what is needed, where items will be received and stored and who will manage donation management operations.

B.	Preparedness

Upon receipt of an internal or external warning of an emergency, the facility administrator or appropriate designee(s), in coordination with the local Fire Department, should:

1.	Notify staff in charge of emergency operations to initiate the disaster plan; advise personnel of efforts designed to guarantee resident safety. (see TAB A for Notification Checklist and TAB B for Emergency Call-Down Roster)

2.	If potential disaster is weather related, closely monitor weather conditions and update department directors, as necessary.

3.	Inform key agencies of any developing situation and protective actions contemplated.

4.	Review the Emergency Plan including evacuation routes with staff and residents.

5.	Prepare the                                                             (designated area) for Command Post operations and alert staff of impending operations.

6.	Receive calls from families; coordinate dissemination of messages.

7.	Control facility access.

8.	Confirm emergency staff availability and facilitate care of their families.

9.	Pre-arrange emergency transportation of non-ambulatory residents (dialysis residents, etc.) and their records.

10.	Check food and water supplies.

11.	Store a supply of radios and flashlights, secure loose outdoor furniture and keep vehicles fueled (A 2 ½ tank reserve is recommended).

12.	Coordinate with local authorities/agencies and private contacts to confirm availability of resources, including medical services, response personnel, etc.

13.	Confirm transportation agreements with Emergency Medical Services agencies, tour bus companies or private individuals for buses or other emergency vehicles. (Check with your local and state emergency management office for examples.)

14.	Have a plan in place with                                                         (pharmacy name) and an alternate source to determine emergency operations in the event of halted deliveries or need for backup.

15.	Warn the staff and residents of the situation and expedient protective measures.

16.	Remain calm, reassure residents to minimize fear and panic.

17.	Schedule extended shifts for essential staff and alert alternate personnel to remain on stand-by.

C.	Response

In response to an actual emergency situation, the facility administrator will coordinate the following actions:

1.	Complete the actions of Pre-emergency and Preparedness outlined above.

2.	Activate the Emergency Action Plan and conduct Command Post operations involving emergency communications, message control and routing of essential information.

3.	Coordinate actions and requests for assistance with local jurisdiction emergency services and the community.

4.	Determine requirements for additional resources and continue to update appropriate authorities and\or services.

5.	Ensure communication with residents' families and physicians.

6.	Ensure prompt transfer of resident records.

D.	Recovery

Immediately following the emergency situation, the facility administrator should take the provisions necessary to complete the following actions.

1.	Coordinate recovery operations with the local Emergency Management Agency and other local agencies to restore normal operations, to perform search and rescue and to re-establish essential services.

2.	Provide crisis counseling for residents/families as needed.

3.	Provide local authorities a master list of displaced, missing, injured or dead and notify the next-of-kin.

4.	Provide information on sanitary precautions for contaminated water and food to staff, volunteers, residents and appropriate personnel.

5.	If necessary, arrange for alternate housing or facilities.

IV.	ORGANIZATION AND RESPONSIBILITIES

The facility administrator is responsible for the overall direction and control of facility emergency operations, receiving requested assistance from the heads of each internal department, the local Emergency Management Agency, local Fire Department, private and volunteer organizations and various local and state departments and agencies. (see TAB E for Department Checklists)

Duties and activities that should be directed or assigned by the administrator:

1.	Coordinate the activation and oversee the implementation of the emergency plans.

2.	Direct operation of the Command Post.

3.	Assign a coordinator for the delivery of resident medical needs.

4.	Assign a coordinator accountable for residents and their records; and needed supplies.

5.	Assign responsibility for maintaining safety of the facility grounds - securing necessary equipment and alternative power sources.

6.	Review regularly the inventory of vehicles and report to administrative services.

7.	Coordinate the emergency food services program.

8.	Ensure availability of special resident menu requirements and assess needs for additional food stocks.

9.	Assign a coordinator to ensure the cleanliness of all residents and provision of resident supplies for three days.

10.	Coordinate the inspection of essential equipment (wet/dry vacuums) and protection of facility (lower blinds, close windows, secure loose equipment, etc.).

11.	Provide security of facility/grounds and limit access to facility as necessary.

12.	Coordinate provision of assistance to Maintenance and Housekeeping Departments.

13.	Supervise notification of families on emergency operations.

14.	Facilitate telecommunications and oversee release of information.

V.	Authorities and References

A.	Authorities

1.	42 CFR Ch IV, Part 483, Requirements for States and Long Term Care Facilities, 483.75, Administration: (m) Disaster and Emergency Preparedness.

2.	OAC Chapter 675, Regulations for Licensure of Nursing and Specialized Facilities, Section 310:675-7-8.1. Administrative Records, (14) Written disaster plan/emergency evacuation plan.

3.	42 CFR Ch IV, Part 483, Requirements for States and Long Term Care Facilities, Subpart I Conditions of Participation for Intermediate Care Facilities for the Mentally Retarded, Sec. 483.470, Condition of participation: Physical environment; (h) Disaster and Emergency Preparedness.

4.	OAC Chapter 680, Regulations for Residential Care Homes, Section 310:680-3-6. Records and reports; and 63 O.S. 1-828

5.	OAC Chapter 663, Regulations for Continuum Of Care And Assisted Living Facilities, Section 310:663-3-3. Description of service in assisted living center; and OAC 310:663-7-1. General requirements.

See also the Supplement to the Emergency Action Plan for Long Term Care Facilities

B.	References

1.	United States Department of Homeland Security; Natural Disasters Website: http://www.ready.gov/natural_disasters.html

2.	Are You Ready? An In-depth Guide to Citizen Preparedness, United States Department of Homeland Security: http://www.fema.gov/pdf/areyouready/areyouready_full.pdf

3.	American Red Cross; Disaster Services Website: http://www.redcross.org/services/disaster/0,1082,0_501_,00.html

4.	Oklahoma Department of Emergency Management

Will Rogers Bldg, Box 53365
Oklahoma City, OK 73152-3365 
Phone: (405) 521.2481

http://www.ok.gov/oem/

5.	Oklahoma Office of Homeland Security

P.O. Box 11415
Oklahoma City, OK 73136-0415 
Phone: (405) 425.7296 
okohs@dps.state.ok.us

6.	Oklahoma Residential Assisted Living Association

P.O. Box 54364
Oklahoma City, OK  73154-4364

Phone: (405) 840-0727 
http://www.orala.org/

7.	Oklahoma Association of Homes and Services for the Aging

P.O. Box 1383

El Reno, OK 73036

Phone: (405) 640.8040

http://www.okahsa.org/

8.	Oklahoma Association of Health Care Providers

200 NE 28th ▪ Oklahoma City, OK 73105 
Phone: (405) 524-8338

http://www.oahcp.org/

9.	Oklahoma Assisted Living Association
1329 N. Classen Drive
Oklahoma City, OK 73103
Phone: (405) 235-5000

http://www.okala.org

NOTIFICATION PROCEDURES

TAB A

I.	Warning Systems

External Receipt of Warning

Local government authorities should issue warning of a disaster by mass media (radio and television).

Internal

An internal warning of an emergency should come from the facility's Administrative Services and should be disseminated to staff, residents and visitors by _________________________. (intercom, alarm system)

In the event of a power failure, the alternate alert/warning system shall be ____________________________________________.

II. 	Communications Procedures

All calls shall be routed through the Command Post.

Completed  Initials

_________  ________		1.	Alert staff, residents and visitors of emergency.

_________  ________		2.	Call off-duty staff from emergency call-down roster.

_________  ________ 		3.	Notify appropriate authorities.  These authorities include:

____	a.	Local Fire Department

#________________

____	b.	Local Emergency Mgmt Agency #________________

____ 	c.	State Department of Health
									Ph.	1-800-747-8419

Ph.	1-405-271-6868

Fax.	1-866-239-7553

Fax.	1-405-271-4172

____	d.	Resident physicians and families

ATTACH LIST OF PHYSICIAN AND FAMILY NAMES AND NUMBERS.

_________  ________		4.	Keep authorities updated on emergency operations.

____________________		____________________

Signature                       		Date

TAB B

EMERGENCY CALL-DOWN ROSTER

TAB C

EMERGENCY CHECKLIST

EVACUATION PROCEDURES

NOTE:  It is recommended that two types of evacuation procedures be developed.  These include internal evacuation procedures and external evacuation procedures.

DATE:  ________________  TIME:  _____________________

Completed     Initials

_________  ________  1.	Identify and designate plainly marked exits, evacuation routes, and alternatives on master floor plan for both internal and external evacuations.

- Plan safe routes - avoid wooden stairs, open stairwells, boiler rooms, windows, etc.

- Assign handicapped or non-ambulatory residents to ground floor rooms, close to exits.

- Designate facility compartments for internal evacuation and for planning the safest external evacuation routes.

_________  ________  2.		Inform staff and residents on exit locations and evacuation procedures.

_________  ________  3.	KEEP RESIDENTS CALM.

_________  ________  4.		Evacuate residents in orderly fashion, according to physical condition.

- Ambulatory

- wheelchair

- bedfast residents

_________  ________  5.		Search bathrooms, laundry room, storage closets and vacant rooms for stranded residents, visitors or staff and assist in their evacuation.

________  _________  6.	Clear corridors of any obstructions such as carts, wheelchairs, etc.

________  _________  7.	Turn off electrical appliances.

________  _________  8.	Recount residents to assure no missing residents.

________  _________  9.	Remove resident records.

____________________		____________________

Signature                      			Date

TAB D

EMERGENCY CHECKLISTS

SPECIFIC DISASTERS/INCIDENTS

FIRE SAFETY

If prepared, insert completed Fire Plan in this TAB

DATE:  ___________________    TIME:  _____________________

Completed  Initials

_________  ______	1.	Post location of fire alarms.

_________  ______	2.	Post location of fire extinguishers.

_________  ______	3.	Train employees on use of alarm system and extinguishers.

_________  ______	4.	Post directions on how to utilize emergency equipment.

5.	Follow RACE procedures:

_________  ________	R:	Rescue - Rescue residents in immediate danger.

_________  ________ 	A:	Alarm - Sound nearest alarm if not already activated.

_________  ________ 	C:	Confine - Close doors behind you to confine fire.  Crawl low if exit route is blocked by smoke.

_________  ________	E:	Extinguish - Utilize fire extinguisher as situation permits or;

_________  ________		Evacuate -   Follow evacuation procedures

____________________			_____________________

Signature				        		Date

EMERGENCY CHECKLIST

### NATURAL DISASTERS

DATE:  ___________________    TIME:  ___________________

Completed    Initials

1.  Severe Electrical Storms

_________ _______	a.	Relocate to inner areas of  building as possible.

_________ _______	b.	Keep away from glass windows, doors, skylights and appliances.

_________ _______ 	c. 	Refrain from using phones, taking showers.

_________ _______ 	d. 	Stay away from computers

2.  Tornado (WATCH ISSUED)

_________ _______	a.	Listen to local radio and TV stations for further updates. Check that radio batteries are available and charged

_________ _______	b.	Be alert to changing weather conditions.

_________ _______	c.	Secure equipment, outdoor furniture.

_________ _______	d.	Send "tornado spotters" to  look out locations.

_________ _______	e.	Secure articles which may act as projectiles.

_________ _______	f.	Alert staff to the need for possible sheltering of residents

Tornado (WARNING ISSUED)

_________ _______	g.	Seek shelter in designated area (i.e. safe room, basement, first floor interior hallways, restrooms or other enclosed small areas.

_________ _______	h.	Check restrooms or vacant rooms for visitors or stranded residents and escort to shelter area.

_________ _______	i.	Take position of greatest safety:

- If possible, crouch down on knees with head down and hands locked at back of neck, or:

- Protect head/body with pillows or mattress.

- Bedridden residents, if unable to be moved to central corridors, should have window blinds or curtains closed and protected as much as possible.

3.  Winter Storms

_________ _______	a.	Secure facility against frozen pipes.

_________ _______	b.	Check emergency and alternate utility sources.

_________ _______	c.	Check emergency generator: Does it start? Is there fuel?

_________ _______	d.	Conserve utilities - maintain low temperatures, consistent with health needs.

_________ _______	e.	Equip vehicles with chains and snow tires.

_________ _______	f.	Keep sidewalks clear.

4.  Flooding (External sources).

_________ _______	a.	Shut off water main to prevent contamination.

_________ _______	b.	Pack refrigerators/food lockers with dry ice.

_________ _______	c.	Prepare to evacuate residents.

Flooding (Internal source).

_________ _______	a.	Turn off building electricity.

_________ _______	b.	Move residents as required.

_____________________			_____________________

Signature 					  Date

EMERGENCY CHECKLIST

### WATER/ELECTRICAL OUTAGE

DATE:  ___________________  TIME:  ____________________

Completed  Initials

PREPAREDNESS:

_________  ______	1.	Ensure a four day supply of food and water for residents and staff and a 48 hour supply of emergency fuel.

_________  ______	2.	Arrange for private contact to serve as an added back-up resource.

_________  ______	3.	Work with the Local Emergency Management Agency in establishing a back-up resource.

_________  ______	4.	Keep an accurate blueprint of all utility lines and pipes associated with the facility and grounds.

_________  ______	5.	Develop procedures for emergency utility shutdown.

_________  ______	6.	List all day and evening phone numbers of emergency reporting and repair services of all serving utility companies.

________   ______ 	7.	List names and numbers of maintenance personnel for day and evening notification.

RESPONSE - Electric Power Failure

________  _______	1.	Call  #                              (power company).

________  _______	2.	Notify the maintenance staff.

________  _______	3.	Evacuate the building if danger of fire.

________  _______	4.	Keep refrigerated food and medicine storage units closed to retard spoilage.

________  _______	5.	Turn off power at main control point if short is suspected.

________  _______	6.	Follow repair procedures.

Completed  Initials

RESPONSE - Water Main Break

________  _______	1.	Call #______________________________ (facility maintenance).

________  _______	2.	Shut off valve at primary control point.

________  _______	3.	Relocate articles which may be damaged by water.

________  _______	4.	Call ____________________________ (pre-designated assistance groups) if flooding occurs.

RESPONSE - Gas Line Break

________  _______	1.	Evacuate the building immediately.  Follow evacuation procedures.

________  _______	2.	Notify maintenance staff, Administrator, local public utility department, gas company and police and fire departments.  List all numbers here.

________  _______	3.	Shut off the main valve.

________  _______	4.	Open windows.

________  _______	5.	Re-enter building only at the discretion of utility officials.

____________________		_____________________

Signature				        Date

INSTRUCTIONS

Insert your local police department’s telephone number below.*  Notify your police department immediately after receiving a bomb threat. Do as the police department advises. Complete the form and give it to the Administrator, person in charge and/or police.

QUESTIONS TO ASK DURING A

BOMB THREAT TELEPHONE CALL

1. What kind of bomb is it? 	Time        Barometric Altitude   Anti-handling

2. What does the bomb look like?

3. Where is the bomb located right now?

4. When is the bomb going to explode?

5. What will cause the bomb to explode?

6. Did you place the bomb?

7. Why did you place the bomb?

8. Where are you calling from?

9. What is your name?

10. What is your address?

EXACT WORDING OF THREAT

Sex of Caller:  	Female    	Male

Approximate Age of Caller:

Possible Race of Caller:

Is the voice familiar?	Yes 	No

If yes, whom did it sound like?

Length of Call:

Number at Which Call Was Received:

Date Received:

Time Received:

Person Receiving Call:

*POLICE DEPARTMENT:

DESCRIPTION

Circle/check all that apply.

| VOICE | SPEECH | MANNER |
| --- | --- | --- |
| Loud | Fast | Calm |
| High Pitched | Distinct | Rational |
| Raspy | Stutter | Deliberate |
| Soft | Slurred | Angry |
| Deep | Slow | Crying |
| Pleasant | Lisp | Incoherent |
| Nasal | Breathless | Emotional |
| Disguised | Distorted | Laughing |
| Normal | Monotone | Intoxicated |

Circle/check most appropriate answer.  Use provided space for more specific information.

| ACCENT | LANGUAGE |
| --- | --- |
| Local: | Articulate/Educated |
| Regional: | Fair/Good |
| Foreign: | Poorly Educated |
| Race: | Cursing/Offensive |
| Other: | Other: |

BACKGROUND NOISE

___Factory/Mechanical	___Street/Traffic

___Office Machinery	___Glassware/Café

___Trains	___Music

___Airplanes	___PA System

___Rain/Thunder	___Voices/Talking

___Party Atmosphere 	___Quiet

___Radio/TV 	___Household Appliance

___Animals(specify:					)

FAMILIARITY:

WITH THREATENED FACILITY

___Much   		___Some  	     ___None

WITH GENERAL AREA/LOCATION

___Much       	___Some  	     ___None

ADDITIONAL PERTINENT INFORMATION OR REMARKS

EMERGENCY CHECKLIST

### MISSING RESIDENT

DATE: ____________________  TIME: ______________________

Completed	Initials

_________ ________	1.	Communicate internal notification of missing resident.

_________ ________	2.	Search every SPACE in facility.

_________ ________	3.	Search immediate grounds - supply flashlights.

_________ ________	4.	Call 911 or local Police Department.

_________ ________	5.	State Department of Health

Ph.		1-800-747-8419

Ph.		1-405-271-6868

Fax.	1-866-239-7553

Fax.	1-405-271-4172

_________ ________	6.	Notify responsible family member:

- Inform family that resident is missing.

- State that local Police Department has been notified.

- Ask family members to remain at home near phone.

- Discourage family members from coming to the facility

until notified to do so.

_________ ________	7.	Supply resident's picture from medical records to search team members. (Current yearly photos are encouraged.)

____________________________			________________________

Signature						Date

TAB E

EMERGENCY CHECKLISTS

DEPARTMENT RESPONSIBILITIES

ADMINISTRATIVE SERVICES

DATE:  _______________________  TIME:  ___________________

Completed    Initials

_________  ______	1.	Alert staff of emergency.

_________  ______	2.	Determine extent/type of emergency.

_________  ______	3.	Activate emergency plans.

_________  ______	4.	Activate emergency staffing.

_________ 	Provide transportation of emergency personnel, as needed.

________  _______	5.	Notify local jurisdiction support.

________  _______	6.	Contact pharmacy to determine:

_________ 	a. Cancellation of deliveries?

_________  	b. Availability of backup pharmacy?

_________  	c. Availability of 3-days of medical supplies?

________  _______	7.	Authorize operation of crisis command post.

_________  	a. Provide checklists to staff.

_________  	b. Ensure communications equipment is operational.

________  _______	8.	Cancel special activities (i.e.:  trips, activities, family visits, etc.)

________  _______	9.	Monitor the emergency communication station.

________  _______	10.	Receive briefings from Department Heads on pending operations.

________  _______	11.	Closely monitor weather reports for significant weather changes or warnings.

________  _______	12.	Determine need for evacuation and begin procedures, if necessary.

________  _______	13.	Arrange for emergency transportation of ambulatory residents.

________  _______	14.	If necessary, prepare facility for sheltering of external populations:

__________  	a. Designate allotted space and food.

__________  	b. Provide additional staffing.

___________________			____________________

Signature					Date

EMERGENCY CHECKLIST

### DIETARY/FOOD SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  ______	1.	Check water and food for contamination.

_________  ______	2.	Check refrigeration loss if refrigerator or food lockers are not on                     emergency power circuit.

_________  ______	3.	Ensure 4-day supply of food storage for residents and staff.

_________  ______	4.	Ensure availability of special resident menu requirements.

_________  ______	5.	Assess needs for additional food stocks.

_________  ______	6.	Secure dietary cart in sub-dining room or small, enclosed area.

_________  ______	7.	Assemble required food and water rations to move to evacuation site, as necessary.

____________________			____________________

Signature					Date

EMERGENCY CHECKLIST

HOUSEKEEPING SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  ______	1.	Ensure cleanliness of residents.

_________  ______	2.	Ensure provision of resident supplies for three days.

_________  ______	3.	Clear corridors of any obstructions such as carts, wheelchairs, etc.

_________  ______	4.	Secure laundry cart in main bathroom.

_________  ______	5.	Check equipment (wet/dry vacuums, etc.)

_________  ______	6.	Secure facility (close windows, lower blinds, etc.)

___________________ 			___________________

Signature			      	  Date

EMERGENCY CHECKLIST

MAINTENANCE SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  ______	1.	Review staffing/extend shifts.

_________  ______	2.	Check safety of surrounding grounds (secure loose outdoor equipment and furniture).

_________  ______	3.	Secure doors.

_________  ______	4.	Check/fuel emergency generator and switch to alternative power as necessary.

________  	a.	Alert Department Heads of equipment supported by

emergency generator.

________  	b.	If pump or switch on emergency generator is controlled

electrically, install manual pump or switch.

_________  ______	5.	Check hazardous materials.

_________  ______	6.	Conduct inventory of vehicles, tools and equipment and report to administrative service.

_________  ______	7.	Fuel vehicles.

_________  ______	8.	Identify shut off valves and switches for gas, oil, water and electricity and post charts to inform personnel.

_________  ______	9.	Identify hazardous and protective areas of facility and post locations.

_________  ______	10.	Close down/secure facility in event of evacuation.

___________________  			___________________

Signature					 Date

EMERGENCY CHECKLIST

NURSING/MEDICAL SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  _______	1.	Ensure delivery of resident medical needs.

_________  _______	2.	Assess special medical situations.

_________  _______	3.	Coordinate oxygen use.

_________  _______	4.	Relocate endangered residents.

_________  _______	5.	Ensure availability of medical supplies.

_________  _______	6.	Ensure safety of resident records.

_________  _______	7.	Maintain resident accountability and control.

_________  _______	8.	Supervise residents and their release to relatives, when approved.

_________  _______	9.	Ensure proper control of arriving residents and their records.

_________  _______	10.	Screen ambulatory residents to identify those eligible for release.

_________  _______	11.	Maintain master list of all residents, including their dispositions. Forward this list to the local authorities.

_____________________			______________________

Signature					    Date

EMERGENCY CHECKLIST

### RESIDENT SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  _______	1.	Notify resident families.

_________  _______	2.	Coordinate information release with senior administrator.

_________  _______	3.	Facilitate telephone communication.

_________  _______	4.	Act as message center.

______________________			____________________

Signature						  Date

EMERGENCY CHECKLIST

### SECURITY SERVICES

DATE:  _______________________  TIME:  ___________________

Completed  Initials

_________  ______	1.	Assess building security.

_________  ______	2.	Secure building as needed.

_________  ______	3.	Control entry and exit.

_________  ______	4.	Provide protection for residents and staff.

_______________________				______________________

Signature						    Date

TAB F

INVENTORY CHECKLIST

Vehicle Resources Available

Locations and # of Buses

Points of Contact

Locations and # of Vans

Points of Contact

Food Supply

Emergency Menus

TAB G

### EMERGENCY POINTS OF CONTACT DIRECTORY

##### LOCAL FIRE DEPARTMENT

NAME

ADDRESS

PHONE EMER# 	BUS#

##### LOCAL POLICE DEPARTMENT

NAME

ADDRESS

PHONE EMER# 	BUS#

##### LOCAL EMERGENCY MEDICAL SERVICES

NAME

ADDRESS

PHONE EMER# 	BUS#

##### LOCAL EMERGENCY MANAGEMENT AGENCY

NAME

ADDRESS

PHONE EMER# 	BUS#

##### LOCAL AMERICAN RED CROSS

NAME

ADDRESS

PHONE EMER# 	BUS#

##### COUNTY/STATE HEALTH DEPARTMENT

NAME

ADDRESS

PHONE EMER# 	BUS#

# Text boxes

# EMERGENCY SERVICES

(i.e. 911, Fire Department, Police Department, EMS)

Fire: #

Police: #

Ambulance: #

Other: #

FACILITY

ADMINISTRATOR

#________________________

Nurse/Medical Services Director

#__________________________

Administration Services Director

#__________________________

Housekeeping Services Director

#__________________________

Maintenance Services Director

#__________________________

Security Services Director

#__________________________

Dietary/Food Services Director

#__________________________