|  |  | Facility ID#: |  |  |  |  |  |  |  |  |  | Inspection Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Facility Name: |  |  |  |  |  |  |  |  |  | Inspector’s Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | TANK I.D. # |  |  |  | Tank #: |  |  |  |  | Tank #: |  |  |  |  |  |  | Tank #: |  |  |  |  |  | Tank #: |  |  |  |  |  | Tank #: |  |  |  |  |  |  |  |
|  |  | TANK CONDITION Circle Below Y = YES or N = NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Leaks or spills |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Cracks/Bulges/Corrosion |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Tanks ProperlyLabeled/Tagged |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | High Level Alarm Working |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Leak Detection Monitored |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Leak Detection Inspected |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Interstitial PortLabeled/Locked |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Cathodic Protection Monitored |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Cathodic Protection Inspected |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Exterior Tank Surface Painted |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  |  |
| FOUNDATIONS & STRUCTURAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Settlement/Cracks/Corrosion |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Anchor Bolts Tight |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
| SECONDARY CONTAINMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Cracks/Gaps/Puncture/Corrosion |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Paint/Sealant in Good Condition |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Stormwater Build-Up |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Stormwater Discharge Dates |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Drainage Valve Locked Close |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  |
| PIPES/VALVES/PUMPS/SUMPS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Leaks or spills |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Cracks/Bulges/Corrosion |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Properly Labeled |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | High Level Alarm Working |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Leak Detection Monitored |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |
|  |  | Leak Detection Inspected |  |  |  | Y N |  |  |  | Y N |  |  |  |  |  |  | Y N |  |  |  |  |  |  |  | Y N |  |  |  |  | Y N |  |  |  |  |  |  |  |

| Inspector’s Certification: I certify that this inspection was performed in a manner consistent with requirements of 40 CFR 112.8(c)(6) (7-1-12 Edition) [see page 2]. |  |  |  |
| --- | --- | --- | --- |
|  |  | Inspector’s Signature |  |
|  |  | Inspector’s Printed Name | Date |

Requirements of CFR 112.8(c)(6) (7-1-12 Edition)

Test or inspect each aboveground container for integrity on a regular schedule and whenever you make material repairs. You must determine, in accordance with industry standards, the appropriate qualifications for personnel performing tests and inspections, the frequency and type of testing and inspections, which take into account container size, configuration, and design (such as containers that are: shop-built, field-erected, skid mounted, elevated, equipped with a liner, double-walled, or partially buried).  Examples of these integrity tests include, but are not limited to: visual inspection, hydrostatic testing, radiographic testing, ultrasonic testing, acoustic emissions testing, or other systems of non-destructive testing.  You must keep comparison records and you must also inspect the container’s supports and foundations. In addition, you must frequently inspect the outside of the container for signs of deterioration, discharges, or accumulation of oil inside diked areas. Records of inspections and tests kept under usual and customary business practices satisfy the record keeping requirements of this paragraph.

EXPLANATION OF INVENTORY ISSUES: