| DRI-SUMP CONTAINMENT TESTING FORM |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OKLAHOMA CORPORATION COMMISSION PETROLEUM STORAGE TANK DIVISION P.O. Box 52000, Room 480 Oklahoma City, OK 73152-2000 |  |  |  |  |  |
| REQUIRED ONCE EVERY THREE (3) YEARS |  |  |  |  |  |
| - FACILITY INFORMATION |  |  |  |  |  |
| Facility ID: |  |  | Date of Test: / / |  |  |
| Facility Name: |  |  |  |  |  |
| Physical Address: |  |  |  |  |  |
| City & State: |  |  | County: |  |  |
| Zip: |  |  | Facility Phone: |  |  |
| - TESTING COMPANY INFORMATION |  |  |  |  |  |
| Company Name: |  |  | Company Phone: |  |  |
| Company Address: |  |  |  |  |  |
| City & State: |  |  | Zip: |  |  |
| Tester Name & Certification No: |  |  | Certification Date: |  |  |
| Equipment Certification No: |  |  | Certification Date: |  |  |
| - PROCEDURES AND INSTRUCTIONS |  |  |  |  |  |
| Tank ID |  |  |  |  |  |
| Product Stored |  |  |  |  |  |
| Sump Type | Spill Bucket UDC Transitional STP | Spill Bucket UDC Transitional STP | Spill Bucket UDC Transitional STP | Spill Bucket UDC Transitional STP | Spill Bucket UDC Transitional STP |
| Sump Capacity |  |  |  |  |  |
| Sump Construction | Single Walled Double Walled | Single Walled Double Walled | Single Walled Double Walled | Single Walled Double Walled | Single Walled Double Walled |
| Liquid Present Above Bottom of Sump | Yes* No | Yes* No | Yes* No | Yes* No | Yes* No |
| *If “Yes” is checked above then the DRI-Sump test method cannot be performed. Please refer to another approved method of testing. |  |  |  |  |  |
| Liquid & Debris Removed | Yes No | Yes No | Yes No | Yes No | Yes No |
| Visual Inspection (no cracks, loose parts or sump/pipe seperation points) | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |
| Communication: (in/WC) | Close: Open: | VST: | Closed Hose = C Open Hose = O VST Connect = V | Formula: C > O C > V V ≥ O | Comments: |
| Test in Seconds |  |  |  |  |  |
| Laser Verification | Dot (pass) Line (fail) | Dot (pass) Line (fail) | Dot (pass) Line (fail) | Dot (pass) Line (fail) | Dot (pass) Line (fail) |
| IV. FINAL TEST RESULTS | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |
| Comments: _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ |  |  |  |  |  |
| - CERTIFICATION (Read and sign after completing all sections) |  |  |  |  |  |
| I certify under penalty of law that I have personally examined and am familiar with the information submitted on this form and all attached documents (if any), and that I believe that the submitted information is true, accurate and complete. |  |  |  |  |  |
| X |  |  |  |  |  |
| Tester Signature |  |  | Date |  |  |

KEEP THIS RECORD FOR THREE (3) YEARS.