Project Purpose:

The OSBI is seeking proposals for a new non-skid, chemical resistant floor in two (2) evidence storage vaults at the Northeast Regional Laboratory building located at 1995 Airport Parkway, Tahlequah, OK. 74464.  This project will be done in two (2) phases by completing/finishing one (1) vault before starting the next.  Vendor will take all necessary steps to protect all property in and around the construction area. Vendor shall remove and dispose of all debris resulting from this project offsite. Use of OSBI receptacles and/or dumpster is prohibited.

Scope of Work:

Project Demo consists of:

- For phase I and phase II:

- Removal of approximately 250 square feet (SQFT) of vinyl composite tile (VCT).

- Removal of approximately 62 lineal feet (LFT) of vinyl cove base.

- Removal of all debris to prepare for new floor installation per manufactures requirements.

Project Installation consists of:

- For phase I and phase II:

- Approximately 250 SQFT of non-skid flooring.

  - Use PPG Supercoat Epoxy Garage Floor Coating, or equivalent, per manufacture’s recommendations.

  - Use Topcoat PM 500 Urethane (chemical resistant), or equivalent, with non-skid additive per manufacture’s recommendations.

- Install approximately 62 LFT of cove base with color and style approved by OSBI.

Project Alternates consist of:

- Alternate #1 [phase I and phase II]:

  - Disassemble, remove and reassemble approximately 20 each 18” x 48” x 120” metal shelving by phase.

  - Shelving is to be stored outside in a storage type container.

- Alternate #2 [phase I and phase II]:

- Patch and paint all walls with an approved color by the OSBI.

Other Documents:

- Bonds will be required if project exceeds $100,000.00.

- Workers COMP and General Liability insurance will be required.

Additional Terms:

- Background Checks:

The OSBI shall conduct background investigations and national criminal history record checks on companies and individuals with which it contracts to provide services. The successful vendor shall submit data as required by the OSBI for each proposed employee. No employee of the vendor’s shall work on the premises until the individual is approved by the OSBI. Any person found not acceptable to the OSBI will not be allowed to perform work at any OSBI facility.

- Contractor will employ only licensed and qualified workers who are proficient in performing this type work. These personnel shall at all times be employees of the Contractor. Contractor’s employees are required to be a minimum age of eighteen with direct supervision on the premises or the age of twenty-one if not directly supervised. Contractor and Contractor’s employees must be United States citizens or be legally eligible to work in the United States. Contractor shall provide proof of eligibility of Contractor or Contractor’s employees to work in the United States as indicated to comply with OSBI requirements or local, State and Federal laws.

- All equipment and tools shall be furnished by the Contractor and shall be properly maintained in proper working condition.

- OSBI reserves the right to point out requirements being missed or neglected. Anything not acceptable in accordance with the contract shall be corrected immediately. Failure to do so will constitute grounds for filing Contractor complaints with the Office of Management and Enterprise Services/ Construction and Properties (OMES/CAP) potentially leading to corrective action.

- All hazardous materials used by the Contractor to fulfill the requirements of this contract shall be marked as such.  The Contractor shall provide the OSBI Procurement and Facilities Manager (or designee) the appropriate Safety Data Sheet (SDS) for each product before the work has started.

Disposal of such products off of State property is the responsibility of the Contractor and shall be done in accordance with all applicable laws, guidelines, regulations and codes.

- Damage to OSBI property (fencing, signage, walls, etc.) as a result of negligence or intent by Contractor’s employee(s) or sub-contractors shall be professionally repaired at no cost to the OSBI. The Contractor shall complete such repair at Contractor’s cost or reimburse the OSBI for having the repair done by another Contractor. Repairs will be completed on a timeframe agreed upon by the OSBI, OMES CAP and the contractor.

In an emergency affecting safety of person or property, the Contractor shall act, at the Contractor’s discretion to prevent threatened damage, injury, or loss.

The Vendor shall keep the premises clean of all rubbish and debris generated by the work involved and shall leave the premises neat and clean. The Vendor shall dispose of all surplus material, rubbish, and debris off site. Use of OSBI Facility trash container is not allowed under this contract.

GENERAL TERMS

- Gratuities: The right of the successful Contractor to perform under contract may be terminated by written notice if the Contracting Officer determines that the successful bidder, or its agent or another representative offered or gave a gratuity (e.g., an entertainment or gift) to an officer, official, or employee of the State.

- Debarment and Suspension: In accordance with 31USCA 6101, Executive Order 12549, the prospective bidder certifies, by submission of this Bid, that neither it nor its principals are presently or have not in the last three years been debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded for participation in this transaction by any Federal Department or Agency, or convicted of a fraud related crime.

- Indemnification: The Contractor shall agree to indemnify and hold the OSBI harmless against any and all bodily injury and property damage, deficiencies or liabilities resulting from any negligence on the part of the Contractor or nonfulfillment of any term or condition of this contract. The Contractor shall indemnify and hold harmless the OSBI under this contract from any and all assessments, judgments, costs, legal and other reasonable expenses incidental to any of the foregoing.